We deployed Texans at 88 locations/stations over the time period of 8/19/2009 to 8/27/2009 (MST).   We installed approximately half the stations on two successive days; each half comprised a nearly constant group of stations (with a few exceptions). Thereafter we swapped in new Texans for each group twice, making a total of six ‘deployments’.  The raw data are stored in 6 directories, each corresponding to a particular deployment (from stations having Texans that operated for approximately the same recording period, swapped in and out on the same date).

For each of the 6 deployments there is a table called DX_Table.txt (X=1 to 6) and a corresponding directory called ‘DeploymentX’.  Each table contains columns describing the station name and Texan serial number at that station, and the dates/times when the Texan was installed at the station, programmed to turn on, removed from the site, recording was programmed to turn off, and any comments about the site conditions and other notations. The directories contain the raw TRD-formatted files offloaded from the Texans, and files created by the ‘pocus’ and ‘petm’ programs during the setup and retrieval processes.

A single table, called SlumTexans.txt, contains the station codes, their locations in State Plane coordinates (east, north, elevation all in meters), and the method used to obtain the location.